## Slide 1: Experiment 13
Delta-Delta Transformer – High Resistance Grounded System with Wye-Delta transformer – Ground Fault
Dr. Norbert Doerry and Dr. John V. Amy Jr.
http://doerry.org/norbert/MarineElectricalPowerSystems/index.htm
© 2024 by Norbert Doerry and John Amy This work is licensed via: CC BY 4.0 (https://creativecommons.org/)

## Slide 2: Schematic
Cp = 2.2 µF
R = 1200 Ω
RL = 300 Ω
Rg = 400 Ω N = 5.2
RG = 400 Ω
Common Mode Current Probe
Current Meter (all phases)
Voltage Meter (all phases)

## Slide 3: Experiment 13
Wye
Parasitic
Delta-Load
Secondary - LL
Secondary - LN
Secondary - LG
Load line

## Slide 4: Simulation Model
20241105 experiment 13.asc
LTspice

## Slide 5: Neutral to ground voltage HRG resistor voltage – HRG resistor to neutral voltage
Neutral to Ground Voltage
HRG to ground voltage – HRG to neutral voltage

## Slide 6: Steady State Voltages
Ground Fault
Line to line voltage
Line to neutral voltage

## Slide 7: Steady State line to ground Voltages

## Slide 8: HRG resistor current, Parasitic Capacitance ground current, and fault current

## Slide 9: Current in grounding transformer

## Slide 10: Wrap Up